## Slide 1: Externally Fired Micro Gas Turbine (EFMGT)
Small energy production facilities.
They are called externally fired due to the combustion gases do not go directly through the turbine.
This makes the EFMGT flexible at the time of choosing a fuel.

## Slide 2: Characteristics
Power 5 – 100 kW
Recovered Heat 20 – 400 kW
Electrical efficiency 15 – 25 %
Global efficiency 80 – 85 %
Other services: Cooling, drinking water, heat.
Relatively low maintenance and easy transport.

## Slide 3: Operating principle

## Slide 4: Main parts of an EFMGT
Compressor
Turbine Turbogenerator
Generator
Heat exchanger (Recuperator)
Combustion chamber

## Slide 5
PATENTED DESIGN
Heat exchanger
Boiler
Burner
Turbogenerator
Air
intake
Air
Fuel
Hot water output
Electricity output

## Slide 6: Main parts of Compower EFMGT
HEAT EXCHANGER
TURBOGENERATOR
BURNER
BOILER
Air intake
Air
Fuel
Water in
Water out
Electrical power

## Slide 8: EFMGT Solar Driven Possibility
Recitifier/inverter for DC interconnection or AC output
Concentrator
Receiver
Recuperator
Turbogenerator

## Slide 9: Development in time
1987 1992-1996 2001 2004 2007 2008 2010
Motors
& microturbine hybrids
Company formed
World’s 1st micro turbine with high speed permanent magnet alternator
Micro Combined Heat and Power prototype
ET10 field trial unit at customer site. Biogas operation
ET10 field trial unit at KTH

## Slide 10: MGT efficiency map

## Slide 11
ET10 FIELD TEST PROTOTYPE

## Slide 12
Turbogenerator
Parts and assembly

## Slide 13: Turbogenerator ET10

## Slide 14: 3D Turbogenerator Model

## Slide 15: Turbogenerator parts
High speed generator
Bearing assembly
Bearing assembly
Compressor
Turbine
Compressor outlet
Based on automotive turbocharger technology
Integrated, highly efficient, permanent magnet generator, Air bearings.
Operating speed range 100,000 -160,000 rpm is the same as a turbocharger in a standard passanger car.

## Slide 16: Smallest Turbogenerator in the world
IHI Corporation Micro Gas Turbine
Power: 0,4 kW
Fuels: Gas and Liquid (Natural gas, propane, gasoline, diesel)
Speed: 350000 RPM
Source: NHK World (Japan TV Channel)