Course instruction spring 2014 Hydropower – Technology, Economy, Sustainability (ME2083)

Please NOTICE that this is the course instruction and literature for the course given in period 3 spring 2014. Generally it gives a good overview of the course planned for period 3 spring 2015. One major change will be a more balanced treatment of hydropower in Sweden and internationally. Next year the course will be given in ENGLISH! Thus some of the literature will be changed.

1. Background, aim and for whom it might be an interesting course

Hydropower is becoming more and more important for the energy system, so also in Sweden. It is a sustainable contribution with nearly 50 % of the Swedish power production. Its regulating capacity is crucial for keeping the balance in the electricity system and thus for the possibility to build more intermittent power production like sun and wind. Swedish hydropower is now in a phase of renewal and upgrading, both big and small plants. Hydropower also has to face more far-going demands on mitigating the environmental consequences.

Hydropower is an important societal activity, which is continuously operated, maintained and developed. Many big hydropower plants have now come to an age when they must be renovated, sometimes they can then be upgraded. Also small-scale hydropower must be renovated and its upgrading potential is big. Internationally, hydropower is expanding rapidly, primarily in Africa, Asia and South America where it is becoming more and more important for a sustainable energy system.

KTH has research and teaching in hydropower in many departments in several schools. By complementing existing courses with a joint basic course, hydropower is focused as an area where KTH can give a basic education. The aim of the course is thus firstly to offer a basic course, which can be complemented with special courses in different parts of the subject area, and secondly to offer a broader perspective for students that have already taken one or more special courses.

The course is, firstly, suitable for all students with a general interest for sustainable energy systems. Secondly, it is highly relevant for master programs with an energy and/or sustainability profile like Sustainable Energy Engineering, Management & Engineering of Environment & Energy, Civil & Architectural Engineering, Environmental Engineering & Sustainable Infrastructure, Electric Power Engineering but also other master programs like Industrial Management. Thirdly, it is also highly relevant for a couple of profiles in the third year of the program for Civil Engineering & Urban Management, for the energy system profile of the Industrial Management & Engineering program and certainly also for some other programs. Fourthly, it fits nicely into the third year of the bachelor program in electrical engineering.

2. Learning outcomes

The course shall give the student theoretical and empirical knowledge about

• The role of hydropower in the energy system, in Sweden and internationally

• The hydrological conditions for and consequences of hydropower

• Design and building of dam, gates, intake, outlet, power station

• Mechanical, electrical and electronic equipment

• The economic conditions for and consequences of hydropower

• The environmental impact of hydropower and how this can be mitigated

• The legal conditions for hydropower.

3. Course main content

The main focus is how the hydrological conditions determine the physical and technical design as well as the operation of a hydropower station, and which the economic and environmental consequences will be. The course covers many subject areas, which are treated more thoroughly in other courses offered by the departments cooperating in this course. Here follows an overview of the content where the lectures are allocated to the different areas.

1. Introduction (2 h, Thomas Sandberg, Industrial economics and management)

• Hydropower in Sweden and the world, both big and small

• History of hydropower, its importance for the industrial, cultural and societal heritage

• Positive and negative aspects of hydropower

• The technical basic principle

• The economic basic principle

• Three typical cases: high, medium, low.

2. Hydrology (4 h lectures + 4 h exercises, Anders Wörman, River engineering)

• Hydrological cycle

• Potential energy: Topography, head

• Design flow and discharge capacity of a hydropower plant

• Runoff modelling: Precipitation, evaporation, water availability

• The importance of runoff predictions for the water value and water regulation (how to avoid and manage flooding).

3. Hydropower dispatch (4 h, Lennart Söder, Electrical power systems)

• Hydropower dispatch, regulation capacity, the impact of legal permissions

• Water value, how it is calculated, the impact of precipitation on the water value

• Planning and operation of hydropower plants

• Hydropower for balancing sun- and windpower.

4. Dams and other concrete structures (4 h, Fredrik Johansson/Richard Malm, Soil and rock mechanics and Sweco)

• Embankments dams

• Concrete structures

• Hydropower tunnels and rock caverns

• Design of foundations, sealing of soil and rock.

5. Turbines and other mechanical equipment (6 h, Bo Pettersson, Sweco)

• Turbines: Function, modern turbine types, main components of a turbine, principles for dimensioning, operating characteristics, the turbine equation, calculation and test methods, dynamic operating modes

• Valves

• Gates

• Auxiliary systems

• Standards

• Cavitation

• Historical development.

6. Generators, other electric and control equipment

(4 h, Erik Byström, Fortum)

• Generators, transformers etc

• Control equipment

7. Economy (6 h, Thomas Sandberg, Industrial economics and management)

• Basic economics: Profit & loss statement, balance statement, cash flow. Profitability, liquidity. Discounting (the value of future payments)

• From technology to economics: The dependence of economy on hydrology, topography and the basic components of equipment. Technical risks. The basic technical and economic principles

• Revenues, operating costs, capital costs. Which values are created, which revenues are generated. Different operating costs. Capital costs: depreciation, length of life, interest. Commercial risks

• Investment analysis: Methods to judge the profitability of investments

• Financing: Models of financing. Interest, amortisation and other loan conditions. Political risks

• Markets and policy instruments: Basic about the market mechanism. Different policy instruments. Limitations and imperfections of the market mechanism. External effects and their impact on the market

• The markets for power and equipment

• Project management

• Business, entrepreneurs and companies in hydropower.

8. Local environment (4 h, Anders Wörman, River engineering)

• Integrated design of hydropower systems

• Fragmentation of rivers, consequences for national and foreign species, mitigation pathways

• Lake turnover of water temperature

• Solute and sediment transport, up- and downstream consequences

• Water conflicts (evaporation, irrigation, consumption)

• Hydropower regulation with limited environmental demands (the case of Dalälven).

9. Water law (4 h, Jonny Flodin, Real estate science)

• The legal regulation of hydropower plants (overview of present and older legal conditions, basic concepts like water activities, water constructions, water area)

• Conditions for permissions for a hydropower plant

• Approval of a hydropower plant, by whom and on what grounds

• The permission and its legal consequences

• Inspection and new decision about the permission

• How can older water constructions be legally handled today.

4. Lectures, seminars, study visits

• Lectures 36 h (cf section 3 for their allocation on different subject areas). Not obligatory.

• Exercise 4 h (+ individual work). Supervised computer exercise with a runoff prediction with a Mathlabprogram. Obligatory. Wednesday 22.1 and Friday 24.1.

• Seminars 4 - 8 h: Presentation and discussion of the two project tasks. Obligatory. The smaller project task is individual and can e g be to present a company in the hydropower branch, the role of hydropower in a country, a new turbine design. The bigger project task is done by two students and can e g be to go deeper into one subject area in the course, to come up with a project plan for a new or restarted hydropower plant or an overview over the legal conditions in a country. The bigger project task is presented in a paper and orally on seminars Tuesday 4.3.

• Two study visits, one in hydropower plants in Eskilstuna 29.1 and the other at Fortum in Stockholm 18.2. Obligatory.

Monday 20.1 kl 15 – 17 L44	Course introduction. Thomas Sandberg, Industrial economics.

Tuesday 21.1 kl 13 – 15 L22	Hydrology. Anders Wörman, River engineering.

Wednesday 22.1 kl 9 – 17	Computer exercise runoff prediction. 9 – 13 introduction by Anders Wörman, 13 - 17 individual work. Room Christoph.

Thursday 23.1 kl 15 – 17 D42	Reserve time.

Friday 24.1 kl 9 – 17	Computer exercise runoff prediction. Individual work. Room Christoph.

Monday 27.1 kl 15 – 17 L44	Hydropower dispatch. Lennart Söder, Electrical power systems.

Tuesday 28.1 kl 13 – 15 D34	Hydropower dispatch. Lennart Söder, Electrical power systems.

Wednesday 29.1 kl 8? – 18?	Study visit a couple of hydropower plants in Eskilstunaån in Eskilstuna and Torshälla. Obligatory.

Thursday 30.1 kl 15 – 17 E33	Hydraulic engineering. Fredrik Johansson/Richard Malm, Hydraulic engineering.

Monday 3.2 kl 15 – 17 E34	Hydraulic engineering. Fredrik Johansson/Richard Malm, Hydraulic engineering.

Tuesday 4.2 kl 13 – 15 D34	Turbines, mechanical equipment. Bo Pettersson, Sweco.

Thursday 6.2 kl 15 – 17 E34	Turbines, mechanical equipment. Bo Pettersson, Sweco.

Monday 10.2 kl 15 – 17 D35	Turbines, mechanical equipment. Bo Pettersson, Sweco.

Tuesday 11.2 kl 13– 15 D34	Generators, electrical and electronic equipment. Erik Byström, Fortum.

Thursday 13.2 kl 15– 17 D42	Generators, electrical and electronic equipment. Erik Byström, Fortum.

Monday 17.2 kl 15 – 17 D33	Hydropower economy. Thomas Sandberg, Industrial economics.

Tuesday 18.2 kl 8? – 16?	Study visit: Fortum control centre in Värtan. Obligatory.

Wednesday 19.2 kl 15 – 17 D41Hydropower economy. Thomas Sandberg, Industrial economics.

Thursday 20.2 kl 15 – 17 E33	Hydropower economy. Thomas Sandberg, Industrial economics.

Monday 24.2 kl 15 – 17 D42	Hydropower environment. Anders Wörman, River engineering.

Tuesday 25.2 kl 13 – 15 V11	Hydropower environment. Bijan Dargahi, River engineering.

Thursday 27.2 kl 15 – 17 E34	Reserve time.

Monday 3.3 kl 15 – 17 E34	Water law. Jonny Flodin, Real estate science.

Tuesday 4.3 kl 9 – 18 Sing-SingSeminar, presentation of the bigger project task. Thomas Sandberg, Indek m fl. Seminar rooms 443 and 643 in Sing-Sing, Lindstedtsvägen 30 according to a special schedule. Start and stop are preliminary. Obligatory.

Wednesday 5.3 kl 15 – 17 E34	Water law. Jonny Flodin, Real estate science.

Thursday 6.3 kl 15 – 17 D33	Reserve time.

Wednesday 19.3 kl 13 – 17 D34Exam (check time and place).

5. Literature

Firstly more general literature covering the whole hydropower area, secondly articles, books, reports etc specialised in parts of the area. Cf the list of literature on pp 6 - 7 (notice that next time will all literature be in English)!

6. Eligibility

120 hp, i e accepted for year 3.

7. Examination

Firstly a written exam Wednesday 19.3 kl 13 – 17 D34 (6 p), secondly a hydrological exercise, the smaller project work and the bigger project work (1,5 p).

8. All other business

• Department in charge is Industrial economics and management (Indek), Lindstedtsvägen 30 (Sing-Sing).

• Contact person is Thomas Sandberg, Indek, professor em (and active in the hydropower industry), examiner Pär Blomkvist, Indek, associate professor.

• The course is given in period 3 and for the first time spring 2014 week 4 - 10.

• The course is given in Swedish. [This is now changed, next tine will be in English.]

• More information Thomas Sandberg, thomas.sandberg@indek.kth.se, 08-790 7608 or Anders Wörman, worman@kth.se, 08-790 8055.

TS 141009

ME2083 Hydropower spring 2014: Course literature [the Swedish literature will be changed into English]

General introduction

Wagner, H-J & Mathur, J, 2011, Introduction to Hydro Energy Systems. Springer Verlag, Berlin Heidelberg. 1 – 94, 111 – 126. (Electronically available as e-book at KTHB).

Kumar, A, Schei, T m fl, 2011, Hydropower. Chapter 5 i Ederhofer, O m fl, IPCC Special Report on Renewable Energy Sources and Climate Change Mitigation. Cambridge University Press, Cambridge and New York. 54 pages. (Electronically available on internet).

Hydrology

Cf the instruction for the hydrology exercise!

River regulation

Söder, L, Planning and operation for an efficient production-load balance. Part of course literature in Power market analysis. 11 pages. (Electronically available in the course).

Söder, L, 2013, På väg mot en elförsörjning baserad på enbart förnybar el i Sverige: En studie om behovet av reglerkraft. Version 3.0. KTH. Ej bilagor, 67 sidor. (Electronically available on the following link).

http://kth.diva-portal.org/smash/record.jsf?searchId=1&pid=diva2:657544

urn:nbn:se:kth:diva-131939: På väg mot en elförsörjning baserad på enbart förnybar el i Sverige : En studie om kraftsystemets balansering: Version 3.0

Hydro Power as a Balance Resource”, NEPP Synthesis results. 2 pages. (Electronically available on the following link). http://nepp.se/pdf/hydro_power.pdf)

Obel, F, 2012, Balansering av en storskalig vindkraftsutbyggnad i Sverige med hjälp av den svenska vattenkraften”, Master thesis XR-EE-ES 2012:007, KTH. Ej bilagor, 59 sidor. (Electronically available on the following link).

http://kth.diva-portal.org/smash/record.jsf?searchId=2&pid=diva2:538474 
urn:nbn:se:kth:diva-98672: Balansering av en storskalig vindkraftsutbyggnad i Sverige med hjälp av den svenska vattenkraften

Dams and other concrete structures

Ansell, A m fl, 2012, Concrete Structures (course literature AF 2101). Betongbyggnad, KTH. TRITA-BKN, Report 143. Chapters 1, 2, 3.1 – 3.3, 4.1 (1 – 41, 71 – 78).

SwedEnergy, 2012a, RIDAS 2012 – Kraftföretagens riktlinjer för dammsäkerhet. Avsnitt 7.2 Fyllningsdammar Tillämpningsvägledning. 63 sidor.

SwedEnergy, 2012b, RIDAS 2012 – Kraftföretagens riktlinjer för dammsäkerhet. Avsnitt 7.3 Betongdammar Tillämpningsvägledning. 30 sidor.

Turbines and other mechanical equipment

Penche, C m fl, 2004, Guide on how to develop a small hydropower plant. Chapter 6 Electromechanical equipment. European Small Hydropower Association, Brussels. 125 – 168. (Electronically available in the course).

ASME Hydro Power Technical Committee, 1996, The Guide to Hydropower Mechanical Design. American Society of Mechanical Engineers, H C I Publications. 275 pages. Only some parts according to later instructions.

Generators, other electric and control equipment

Penche, C m fl, 2004, Guide on how to develop a small hydropower plant. Chapter 6 Electromechanical equipment. European Small Hydropower Association, Brussels. 125 – 168. (Electronically available in the course).

Economy

Penche, C m fl, 2004, Guide on how to develop a small hydropower plant. Chapter 8. Economic analysis. European Small Hydropower Association, Brussels. 203 – 223. (Electronically available in the course).

Försund, F, 2007, Hydropower Economics. Chapter 10. Summary and Conclusions. Springer, New York. 239 – 249. (Electronically available as e-book in KTHB).

International Energy Agency (IEA), 2012, Technology Roadmap: Hydropower. IEA, Paris. 38 – 56. (Electronically available as e-book at KTHB and on internet).

Local environment

Havs- och Vattenmyndigheten, 2013, Vattenkraftens påverkan på akvatiska ekosystem. HaV 2013:10. 77 sidor. (Electronically available on internet).

Penche, C m fl, 2004, Guide on how to develop a small hydropower plant. Chapter 7. Environmental impact and mitigation measures. European Small Hydropower Association, Brussels. 169 – 202. (Electronically available in the course).

Water laws

Flodin, J, 2014, Vattenkrafträtt – en introduktion. Kompendium, Fastighetsvetenskap, KTH. 40 sidor.

Utdrag ur Miljöbalken och ”Restvattenlagen” liksom ett par rättsfall enligt senare anvisningar.

TS 141009